## Cover
RIVERSIDE COUNTY TRANSPORTATION DEPARTMENT
CONSTRUCTION COST WORKSHEET
AND PLAN CHECK DEPOSIT CALCULATION SHEET
PP, CUP, PUP, MS OR VL NO. | [6 empty] | DATE:
PARCEL MAP OR TRACT MAP NO. | [6 empty] | IP:
100% Bond to record map
120% Bond to record map before improvement plans are signed
[5 empty] | FAITHFUL PERFORMANCE |  |  | MATERIAL & LABOR
[5 empty] | SECURITY |  |  | SECURITY
[5 empty] | 100% |  |  |  | 50%
IMPROVEMENTS |  |  |  |  | Construction Costs) |  |  | Construction Costs)
A | Street/Drainage |  | $ | 0 | $ | 0 |  | $ | 0
B | *Flood Control |  | $ | 0 | $ | 0 |  | $ | 0
C | Water |  | $ | 0 | $ | 0 |  | $ | 0
District Name
D | Sewer |  | $ | 0 | $ | 0 |  | $ | 0
District Name
| Total |  |  | 0 | $ | 0 |  | $ | 0
| Warranty Retention (10%) |  |  |  | $ | 0
DESIGN ENGINEER'S CALCULATION OF IMPROVEMENT BONDING COSTS
Construction items and their quantities, as shown on the attached sheets, are accurate for the improvements
required to construct the above project and the mathmatical extensions, using County's unit costs, are
accurate for determining bonding costs
| Signature |  |  |  | Date
| Name Typed or printed |  |  |  | RCE# |  | Exp. Date
Civil Engineer's Stamp
*Flood Control Construction Cost Estimate to be provided by Flood Control District. Provide a copy of
Flood Control District letter stating cost estmate.
*** PLEASE READ INSTRUCTIONS BELOW ***
1. Quantities are to be taken from the Improvement Plans. Unit cost are to be as provided on
"Riverside County Improvement Requirement Worksheet."
2. Show Performance Bond Amounts to the nearest $500.00. Material and Labor Bond Amounts are 50%
of Performance Bond Amountss. **100% for Flood Control items.
3. For Construction items not covered by "Riverside County Improvement Requirements Worksheet",
Design Engineer is to provide his opinion of construction cost and use that cost. If Riverside County
Unit Costs are determined to be too low, in the opinion of the design engineer, the higher costs as
provided by the Design Engineer should be used.

## STREET
RIVERSIDE COUNTY TRANSPORTATION DEPARTMENT
IMPROVEMENT REQUIREMENT WORKSHEET
STREET IMPROVEMENTS
QUANTITY | UNIT | ITEM |  | UNIT |  | AMOUNT
COST
ROADWAY EXCAVATION
All costs in order to construct in the Road R/W shall be included, including Grading. Provide the total Cut and Fill in both (a.) & (b.) and provide the net difference to account for trucking costs.
| C.Y. | (a.) Cut |  | $ | 25 | $ | 0
| C.Y. | (b.) Fill |  | $ | 25 | $ | 0
| C.Y. | (c.) Net Import/Export for Trucking Costs |  | $ | 15 | $ | 0
ROADWAY REMOVALS
| L.F. | Sawcut Existing AC Pavement |  | $ | 1.5 | $ | 0
| S.Y. | Grinding AC, in place |  | $ | 3 | $ | 0
| S.Y. | Remove AC Pavement |  | $ | 2 | $ | 0
| L.F. | Remove Curb and Gutter |  | $ | 15 | $ | 0
| L.F. | Remove AC Dike |  | $ | 3.5 | $ | 0
| EA. | Relocate Mailbox |  | $ | 500 | $ | 0
| L.F. | Remove Chain Link Fence |  | $ | 8 | $ | 0
| L.F. | Remove Barricade |  | $ | 15 | $ | 0
ROADWAY CONSTRUCTION
| TON | Asphalt Concrete: The total AC volume in Cubic Feet is converted to Tons, based on AC unit wt. of 152LBS/CF ( SF) x ( FT) = ( CF) ( CF) x (152 LBS/CF) ÷ (2,000 LBS/TON)= ( TON) |  | $ | 100 | $ | 0
| C.Y. | Aggregate Base (Class II) ( SF) x ( FT) = ( CF) ( CF) ÷ (27 CF/C.Y.) = ( C.Y.) |  | $ | 55 | $ | 0
| TON | Asphalt Emulsion (Fog Seal & Paint Binder) ( SF) ÷ (9 SF/SqYd) = ( SqYd) ( SqYd) x (0.08 GAL/SqYd = ( GAL) ( GAL) ÷ (240 GAL/TON) = ( TON) |  | $ | 1500 | $ | 0
Type in total AC Square Footage and convert to Square Yards. Multiply the Square Yards of AC by the total Gallons of Asphalt Emusion needed, 0.08 GAL/S.Y. (0.05 GAL/S.Y. Fog Seal, and 0.03 GAL/S.Y. Paint Binder) Then Convert the Gallons to Tons.
| S.F. | Cold Plane AC Overlay (Joining Ex. Pavement) |  | $ | 4 | $ | 0
| L.F. | Curb and Gutter (Type A-6) |  | $ | 40 | $ | 0
| L.F. | Curb and Gutter (Type A-8) |  | $ | 45 | $ | 0
| L.F. | Type "C" Curb |  | $ | 40 | $ | 0
| L.F. | Type "D-1" Curb |  | $ | 30 | $ | 0
| L.F. | Type "D" Curb |  | $ | 35 | $ | 0
| L.F. | AC Dike (6")(incl. material & labor) |  | $ | 20 | $ | 0
| L.F. | AC Dike (8")(incl. material & labor) |  | $ | 25 | $ | 0
| S.F. | P.C.C. Cross Gutter and Spandrels |  | $ | 20 | $ | 0
| S.F. | P.C.C. Sidewalk |  | $ | 10 | $ | 0
| S.F. | P.C.C. Drive Approach |  | $ | 15 | $ | 0
| S.F. | P.C.C. Dip Section, Std. No. 307 |  | $ | 20 | $ | 0
| EA. | Curb Ramp |  | $ | 5000 | $ | 0
| C.Y. | Structural Reinforced Concrete (e.g. Ret. & Wing Walls) |  | $ | 1500 | $ | 0
| L.F. | Barricade, Std. No. 810 |  | $ | 120 | $ | 0
| EA. | Metal Beam Guard Rail End Treatment |  | $ | 5000 | $ | 0
| L.F. | Utility Trench, one side (Edison, Telephone, Cable) (Total length of Streets) |  | $ | 12 | $ | 0
| L.F. | Chain Link Fence ( 6' ) |  | $ | 30 | $ | 0
| L.F. | Relocate Fence |  | $ | 40 | $ | 0
| EA. | Pipe Swing Gate |  | $ | 2500 | $ | 0
| EA. | Relocate Power Distribution Pole |  | $ | 40000 | $ | 0
| EA. | Relocate Power Transmission Pole |  | $ | 200000 | $ | 0
| EA. | Street Lights (including conduit) |  | $ | 5900 | $ | 0
|  |  |  | $ |  | $ | 0
ROADWAY DRAINAGE CONSTRUCTION
| EA. | Concrete Bulkhead |  | $ | 2500 | $ | 0
| EA. | Pipe Slope Anchors |  | $ | 400 | $ | 0
| C.Y. | Cut Off Wall |  | $ | 500 | $ | 0
| EA. | AC Overside Drain |  | $ | 2500 | $ | 0
| EA. | Under Sidewalk Drain Std. No. 309 |  | $ | 2500 | $ | 0
| EA. | Flat Outlet Drainage Structure Std. No. 303 |  | $ | 2500 | $ | 0
| EA. | Curb Outlet Drainage Structure Std. No. 308 |  | $ | 9000 | $ | 0
| EA. | Private Drainage Structure Std. No. 310 |  | $ | 700 | $ | 0
| S.F. | Terrace Drain & Down Drain |  | $ | 10 | $ | 0
| S.F. | Interceptor Drain |  | $ | 10 | $ | 0
| C.Y. | R.C. Box Culvert |  | $ | 1500 | $ | 0
| C.Y. | Concrete Channel |  | $ | 550 | $ | 0
| C.Y. | Rip Rap (No. 2 Backing) |  | $ | 80 | $ | 0
| C.Y. | Rip Rap (1/4 Ton) |  | $ | 130 | $ | 0
| C.Y. | Rip Rap (1/2 Ton) |  | $ | 180 | $ | 0
| C.Y. | Rip Rap (1 Ton) |  | $ | 230 | $ | 0
| C.Y. | Rip Rap (2 Ton) |  | $ | 270 | $ | 0
| C.Y. | Rip Rap Grouting (Enter same Quantity as Rip Rap size above) |  | $ | 30 | $ | 0
| L.F. | 18" RCP Or Arch 21" x 15" RCP |  | $ | 120 | $ | 0
| L.F. | 24" RCP Or Arch 28" x 20" RCP |  | $ | 150 | $ | 0
| L.F. | 30" RCP Or Arch 35" x 24" RCP |  | $ | 180 | $ | 0
| L.F. | 36" RCP Or Arch 42" x 29" RCP |  | $ | 260 | $ | 0
| L.F. | 42" RCP Or Arch 49" x 33" RCP |  | $ | 350 | $ | 0
| L.F. | 48" RCP Or Arch 57" x 38" RCP |  | $ | 430 | $ | 0
| L.F. | 54" RCP Or Arch 64" x 43" RCP |  | $ | 550 | $ | 0
| L.F. | 60" RCP Or Arch 71" x 47" RCP |  | $ | 600 | $ | 0
| L.F. | 18" CSP, HDPE, Or Equal |  | $ | 80 | $ | 0
| L.F. | 24" CSP, HDPE, Or Equal |  | $ | 140 | $ | 0
| L.F. | 30" CSP, HDPE, Or Equal |  | $ | 180 | $ | 0
| L.F. | 36" CSP, HDPE, Or Equal |  | $ | 250 | $ | 0
| L.F. | 42" CSP, HDPE, Or Equal |  | $ | 300 | $ | 0
| L.F. | 48" CSP, HDPE, Or Equal |  | $ | 360 | $ | 0
| L.F. | 54" CSP, HDPE, Or Equal |  | $ | 400 | $ | 0
| L.F. | 60" CSP, HDPE, Or Equal |  | $ | 480 | $ | 0
| EA. | Catch Basin W=4' |  | $ | 2800 | $ | 0
| EA. | Catch Basin W=7' |  | $ | 5000 | $ | 0
| EA. | Catch Basin W=14' |  | $ | 10000 | $ | 0
| EA. | Catch Basin W=21' |  | $ | 15000 | $ | 0
| EA. | Catch Basin W=28' |  | $ | 20000 | $ | 0
| EA. | Type IX Inlet |  | $ | 3000 | $ | 0
| EA. | Type X Inlet |  | $ | 3000 | $ | 0
| EA. | Junction Structure No. 1 |  | $ | 3800 | $ | 0
| EA. | Junction Structure No. 2 |  | $ | 3800 | $ | 0
| EA. | Junction Structure No. 6 |  | $ | 4500 | $ | 0
| EA. | Transition Structure No. 1 |  | $ | 15000 | $ | 0
| EA. | Transition Structure No. 2 |  | $ | 15000 | $ | 0
| EA. | Transition Structure No. 3 |  | $ | 3500 | $ | 0
| EA. | Manhole No. 1 |  | $ | 3500 | $ | 0
| EA. | Manhole No. 2 |  | $ | 4000 | $ | 0
| EA. | Manhole No. 3 |  | $ | 3500 | $ | 0
| EA. | Manhole No. 4 |  | $ | 6000 | $ | 0
| EA. | Adjust Water Valve to Grade ( if no water plan ) |  | $ | 300 | $ | 0
| EA. | Adjust Sewer Manhole to Grade ( if no sewer plan ) |  | $ | 1000 | $ | 0
SIGNING, STRIPING AND SIGNALS
| S.F. | Remove Traffic Stripes and Paint Markings |  | $ | 2 | $ | 0
| EA. | Remove, Sign, Salvage |  | $ | 150 | $ | 0
| EA. | Relocate Roadside Sign |  | $ | 200 | $ | 0
| EA. | Street Name Sign |  | $ | 400 | $ | 0
| EA. | Install Sign ( Strap and Saddle Bracket Method) |  | $ | 250 | $ | 0
| EA. | Install Sign Mast Arm Hanger Method) |  | $ | 500 | $ | 0
| EA. | Road Sign - One Post |  | $ | 400 | $ | 0
| EA. | Road Sign - Two Post |  | $ | 450 | $ | 0
| EA. | Object Marker - Modified Type "F" Delineator |  | $ | 90 | $ | 0
| EA. | Delineator ( Class 1 Type F) |  | $ | 60 | $ | 0
| EA. | Delineator ( Class 2 ) |  | $ | 120 | $ | 0
| EA. | Pavement Marker, Reflective |  | $ | 5 | $ | 0
| L.F. | Paint Traffic Stripe (2 Coats ) |  | $ | 0.5 | $ | 0
| L.F. | 6" Thermoplastic Traffic Stripe |  | $ | 1 | $ | 0
| L.F. | 8" Thermoplastic Traffic Stripe |  | $ | 1.5 | $ | 0
| S.F. | Thermoplastic Pavement Marking |  | $ | 3 | $ | 0
| S.F. | Thermoplastic Cross Walk and Pavement Marking |  | $ | 6 | $ | 0
| EA. | Signal and Lighting |  | $ | 500000 | $ | 0
LANDSCAPING
| S.F. | Maintenance Walk Std. No. 113 |  | $ | 15 | $ | 0
| S.F. | Colored Stamped Concrete |  | $ | 15 | $ | 0
| EA. | Street Trees ( 15 Gallon ) |  | $ | 150 | $ | 0
| EA. | Street Trees ( 24 Gallon ) |  | $ | 300 | $ | 0
| EA. | Street Trees ( 36 Gallon ) |  | $ | 850 | $ | 0
| EA. | Shrub Plant Material (1 Gallon) |  | $ | 10 | $ | 0
| EA. | Shrub Plant Material (5 Gallon) |  | $ | 25 | $ | 0
| S.F. | Irrigation |  | $ | 5 | $ | 0
| C.Y. | Landscape Fill Material |  | $ | 45 | $ | 0
| EA. | Water Meter (Update with Water District costs) |  | $ | 10000 | $ | 0
| EA. | Electric Meter |  | $ | 10000 | $ | 0
| A. | Subtotal |  |  |  | $ | 0
| B. | Administrative Contingency | (Enter % =>) | 25% |  | $ | 0
NOTE: Use 25% for TR and PM (or MS for MAP cases) Use 5% for PP, CU, PU, MS and VL Cases
| C. | Streets/Drainage Total (A + B) |  |  |  | $ | 0
| D. | Additional 20% Bond amount for recordation |  |  |  | $ | 0
prior to signed plans, per ORD.460, SEC. 10.3E
| E. | Streets/Drainage Total (C + D) |  |  |  | $ | 0
YES
NO

## WATER
RIVERSIDE COUNTY TRANSPORTATION DEPARTMENT
IMPROVEMENT REQUIREMENT WORKSHEET
WATER IMPROVEMENTS
QUANTITY | UNIT | ITEM |  | UNIT |  | AMOUNT
COST
| L.F. | 4" Waterline |  | $ | 25 | $ | 0
| L.F. | 6" Waterline |  | $ | 35 | $ | 0
| L.F. | 8" Waterline |  | $ | 40 | $ | 0
| L.F. | 10" Waterline |  | $ | 50 | $ | 0
| L.F. | 12" Waterline |  | $ | 65 | $ | 0
| L.F. | 18" Waterline |  | $ | 130 | $ | 0
| EA. | 4" Gate Valve |  | $ | 800 | $ | 0
| EA. | 6" Gate Valve |  | $ | 1000 | $ | 0
| EA. | 8" Gate Valve |  | $ | 1500 | $ | 0
| EA. | 10" Gate Valve |  | $ | 2000 | $ | 0
| EA. | 12" Gate Valve |  | $ | 2500 | $ | 0
| EA. | Fire Hydrant (6") Standard |  | $ | 4000 | $ | 0
| EA. | Fire Hydrant (6") Super |  | $ | 5000 | $ | 0
| EA. | 4" Misc. Fittings |  | $ | 180 | $ | 0
| EA. | 6" Misc. Fittings |  | $ | 240 | $ | 0
| EA. | 8" Misc. Fittings |  | $ | 350 | $ | 0
| EA. | 10" Misc. Fittings |  | $ | 400 | $ | 0
| EA. | 12" Misc. Fittings |  | $ | 700 | $ | 0
| EA. | Blowoffs (4") |  | $ | 3500 | $ | 0
| EA. | Service Connections |  | $ | 1500 | $ | 0
| EA. | Adjust Water Valve to Grade |  | $ | 350 | $ | 0
| EA. | Relocation of Blowoff |  | $ | 1500 | $ | 0
| EA. | Air and Vacuum Valve. |  | $ | 2500 | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
| A. | Subtotal |  |  |  | $ | 0
| B. | Administrative Contingency | (Enter % =>) | 25% |  | $ | 0
NOTE: Use 25% for TR and PM (or MS for MAP cases) Use 5% for PP, CU, PU, MS and VL Cases
| C. | Water Total (A + B) |  |  |  | $ | 0
| D. | Additional 20% Bond amount for recordation |  |  |  | $ | 0
prior to signed plans, per ORD.460, SEC. 10.3E
| E. | Water Total (C + D) |  |  |  | $ | 0
YES
NO

## SEWER
RIVERSIDE COUNTY TRANSPORTATION DEPARTMENT
IMPROVEMENT REQUIREMENT WORKSHEET
SEWER IMPROVEMENTS
QUANTITY | UNIT | ITEM |  | UNIT |  | AMOUNT
COST
| L.F. | 4" V. C. P. |  | $ | 40 | $ | 0
| L.F. | 6" V. C. P. |  | $ | 50 | $ | 0
| L.F. | 8" V. C. P. |  | $ | 60 | $ | 0
| L.F. | 10" V. C. P. |  | $ | 70 | $ | 0
| L.F. | 12" V. C. P. |  | $ | 85 | $ | 0
| EA. | Standard Manhole |  | $ | 3500 | $ | 0
| EA. | Drop Manhole |  | $ | 5000 | $ | 0
| EA. | Cleanouts |  | $ | 1000 | $ | 0
| EA. | Sewer Wye |  | $ | 80 | $ | 0
| EA. | Chimneys |  | $ | 550 | $ | 0
| EA. | Adjust M.H. to grade |  | $ | 500 | $ | 0
| L.F. | Concrete Encasement |  | $ | 50 | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
|  |  |  | $ |  | $ | 0
| A. | Subtotal |  |  |  | $ | 0
| B. | Administrative Contingency | (Enter % =>) | 25% |  | $ | 0
NOTE: Use 25% for TR and PM (or MS for MAP cases) Use 5% for PP, CU, PU, MS and VL Cases
| C. | Sewer Total (A + B) |  |  |  | $ | 0
| D. | Additional 20% Bond amount for recordation |  |  |  | $ | 0
prior to signed plans, per ORD.460, SEC. 10.3E
| E. | Sewer Total (C + D) |  |  |  | $ | 0
YES
NO

## Plan Check Deposit Calulatn Sht
RIVERSIDE COUNTY TRANSPORTATION DEPARTMENT
PLANCHECK DEPOSIT CALCULATION SHEET
PARCEL MAP OR TRACT NO. | SCH: | DATE:
PP, CU, PU, MS OR VL NO.
IMPROVEMENT COSTS (Including Contingencies)
I. Streets/Drainage (Line C from Street Improvement Calculations) |  |  | $ | 0
II. Water (Line C from Water Improvement Calculations) |  |  | $ | 0
III. Sewer (Line C from Sewer Improvement Calculations) |  |  | $ | 0
PLAN CHECK DEPOSIT CALCULATION
Case Type % NOTE: 1% for TR & COMM PM, 6% for PM & 6.5% FOR ALL OTHERS -PP, CUP, PU, MS and VL |  |  |  | 6.5%
A. Street/Drainage ( CASE TYPE % x I FROM ABOVE) |  |  | $ | 0
B. Water & Sewer (1% x II & III.) (Do not include for Tract or Commercial Maps) |  |  | $ | 0
C. Total Plan Check Deposit (A + B) |  |  | $ | 0
SURCHARGE FEE CALCULATION
D. Surcharge Fee (2% x C) |  |  | $ | 0
E. Total Plan Check Deposit and Surcharge Fee |  |  | $ | 0
MINIMUM PLAN CHECK DEPOSIT REQUIREMENTS
Note: If Plan Check Deposit calculated in "Line E" is less than the minimum as
shown below, then following deposit schedule will apply, otherwise pay the full deposit.
For TR (Schedule. A, B, C, D) and PM (Schedule. E, F, G) - minimum $5,000
For PM (Schedule H, I) - minimum $2,000.00
For PP/CU/PU/MS/VL - minimum $2,000.00
COMMENTS